## Sheet1
piglet | spectrum | good | darkCount | recording_start | HI_start_time | HI_end_time | HI_start_idx | HI_end_idx | results | darkCount Comments | Spectrum Comments | refIntensity Comments
lwp475 | LWP475_Ws_14Nov2016_1.mat | Yes | LWP475_DarkCount_14Nov2016.mat | 62:20 | 62:32 | 62:57 | 73 | 220 | Yes |  | slim peak around 700nm
lwp478 | LWP474_Ws_07Nov2016.mat | Yes | LWP474_DarkCount_07Nov2016.mat | 63:07 |  |  | 200 | 360 | Yes | folder does not match filename | extreme noise after timestep 8000
lwp479-HI+saline | LWP479_Ws_05Dec2016.mat | Yes | LWP479_DarkCount_05Dec2016.mat | 62:05 | 62:30 | 62:55 | 151 | 299 | Yes |  | extreme noise around timestep 3500
lwp479-HI+saline | LWP479_Ws_06Dec2016.mat | No | LWP479_DarkCount_06Dec2016.mat, LWP479_DarkCount_06Dec2016_2.mat | [5 empty] | ? | DarkCount_diff.png shows that difference between DarkCounts is only high for band 402 | very flat curve, extreme noise around timestep 1000
lwp479-HI+saline | LWP479_Ws_07Dec2016.mat | No | part of spectrum file, LWP479_DarkCount_07Dec2016.mat | [5 empty] | No | DarkCount identical | Looks like DarkNoise | Looks like DarkNoise
LWP480 | LWP480_Ws_12Dec2016.mat | Yes | LWP480_DarkCount_12Dec2016.mat | 60:38 | 61:37 | 61:58 | 354 | 478 | Yes |  | Extreme noise around timestep 8000
LWP480 | LWP480_Ws_13Dec2016.mat | No | LWP480_DarkCount_13Dec2016.mat, part of spectrum file | [5 empty] | No | DarkCount identical | Looks like DarkNoise | Looks like DarkNoise
LWP480 | LWP480_Ws_13Dec2016_2.mat | No | LWP480_DarkCount_13Dec2016_2.mat | [5 empty] | Yes |  | slim peaks around 600 and 700 nm
LWP481 | LWP481_Ws_03Jan2017.mat | Yes | LWP481_DarkCount_03Jan2017.mat | 62:36 | 63:38 | 63:58 | 368 | 489 | Yes |  | extreme noise at beginning, very flat curve
LWP481 | LWP481_Ws_04Jan2017.mat | No | LWP481_DarkCount_04Jan2017.mat | [5 empty] | Yes |  | slim peaks around 600 and 700nm
LWP484 | LWP484_Ws_23Jan2017.mat | Yes | LWP484_DarkCount_23Jan2017.mat | 61:24 | 62:00 | 62:26 | 213 | 368 | Yes |  | slim peak around 700nm
LWP484 | LWP484_Ws_24Jan2017.mat | No | LWP484_DarkCount_24Jan2017.mat | [5 empty] | Yes |  | extreme noise at beginning, very flat curve, slim peaks around 550, 600 and 700nm
LWP485 | LWP485_Ws_30Jan2017.mat | Yes | LWP485_DarkCount_30Jan2017.mat | 61:35 | 61:55 | 62:15 | 122 | 241 | Yes |  | slim peaks around 600 and 700nm
LWP488 | LWP488_Ws_13Feb2017.mat | Yes | LWP488_DarkCount_13Feb2017.mat | 63:11 | 63:35 | 63:59 | 141 | 284 | Yes |  | slim peaks around 600 and 700nm
LWP489 | LWP489_Ws_20Feb2017.mat | Yes | LWP489_DarkCount_20Feb2017.mat | 60:11 | 61:01 | 61:21 | 297 | 416 | Yes |  | slim peaks around 550, 600 and 700nm
LWP490 | LWP490_Ws_27Feb2017.mat | Yes | LWP490_DarkCount_27Feb2017.mat | 60:45 |  |  | 80 | 280 | Yes |  | slim peaks around 550, 600 and 700nm
LWP490 | LWP490_Ws_28Feb2017.mat | No | LWP490_DarkCount_28Feb2017.mat | [5 empty] | Yes |  | slim peak around 700nm
LWP491 | LWP491_Ws_06Mar2017.mat | No | ,part of spectrum file | [5 empty] | No |  | Looks like DarkNoise | Looks like DarkNoise
LWP491 | LWP491_Ws_06Mar2017CJB.mat | No | ,part of spectrum file | [5 empty] | No |  | Looks like DarkNoise | Looks like DarkNoise
LWP492 | LWP492_Ws_13Mar2017.mat | Yes | LWP492_DarkCount_13Mar2017.mat | 61:15 |  |  | 180 | 340 | Yes |  | slim peaks around 600 and 700nm
LWP493 | LWP493_Ws_20Mar2017.mat | No | LWP493_DarkCount_20Mar2017.mat | [5 empty] | No |  | Looks like DarkNoise + refIntensity, only 5 timesteps
lwp494 | LWP494_Ws_27Mar2017_17 21.mat | Yes | LWP494_DarkCount_21Mar2017 | 60:31 |  |  | 60 | 240 | Yes | DarkCount from wrong date | slim peaks around 600 and 700nm
LWP495 | LWP495_Ws_03Apr2017_12 29.mat | No | [6 empty] | No |  | Looks like DarkNoise + refIntensity
LWP495 | LWP495_Ws_03Apr2017_12 34.mat | No | [6 empty] | No |  | Looks like DarkNoise + refIntensity with extreme noise at the end
LWP495 | LWP495_Ws_03Apr2017_12 46.mat | No | [6 empty] | No |  | Looks like DarkNoise + refIntensity with extreme noise at the end
LWP495 | LWP495_Ws_03Apr2017_14 23.mat | Yes | LWP475_DarkCount_14Nov2016.mat | 60:53 |  |  | 120 | 280 | Yes | DarkCount taken from other date | slim peaks around 600 and 700nm
LWP498 | LWP498_Ws_24Apr2017_12.mat | No | LWP498 _DarkCount_24Apr2017.mat | [5 empty] | No |  | Looks like DarkNoise + refIntensity with extreme noise at the end
LWP498 | LWP498_Ws_24Apr2017_15.mat | Yes | LWP498 _DarkCount_24Apr2017.mat | 60:33 | 61:10 | 61:32 | 222 | 354 | Yes | 1 darkcount for two spectra | slim peak around 700nm
LWP498 | LWP498_Ws2_25Apr2017_13.mat | No | [6 empty] | ? |  | slim peak around 700nm
LWP498 | LWP498_Ws_25Apr2017_16.mat | No | LWP498 _DarkCount_25Apr2017.mat, LWP498 _DarkCount2_25Apr2017.mat, part of spectrum file | [5 empty] | No | darkcount in spectrum file and DarkCount2 identical | looks like DarkNoise | looks like DarkNoise
LWP498 | LWP498_Ws2_25Apr2017_21.mat | No | [6 empty] | No |  | looks like DarkNoise | looks like DarkNoise
lwp499 | LWP499_Ws_02_May_2017.mat | Yes | LWP499_DarkCount_02May2017.mat | 60:05 |  |  | 200 | 340 | Yes |  | slim peak around 700nm
LWP500 | LWP500_Ws_15_May_201713.mat | No | LWP500_DarkCount_15May2017.mat | [5 empty] | No |  | looks like DarkNoise + refIntensity
LWP500 | LWP500_Ws_15_May_201716.mat | Yes | LWP500_DarkCount_15May2017.mat | 61:44 |  |  | 760 | 900 | Yes | 1 darkcount for two spects | slim peak around 700nm
LWP501 | LWP501_Ws_22_May_201711.mat | No | LWP501_DarkCount_22May2017.mat | [5 empty] | No |  | Looks like DarkNoise + refIntensity with extreme noise at the end
LWP501 | LWP501_Ws_22_May_201715.mat | Yes | LWP501_DarkCount_22May2017.mat | 59:47 |  |  | 540 | 680 | Yes | 1 darkcount for two spects | slim peak around 700nm
LWP502 | LWP502_Ws_30_May_201716.mat | Yes | LWP475_DarkCount_14Nov2016.mat | 59:54 | 60:51 | 61:18 | 340 | 499 | Yes | DarkCount taken from other date | Extremely hight spectrum
LWP503 | LWP503_Ws_05_Jun_2017_15 8.mat | Yes | LWP503_DarkCount_05Jun2017.mat | 62:17 |  |  | 120 | 260 | Yes |  | slim peak around 700nm
LWP503 | LWP503_Ws_05_Jun_2017_15 23.mat | No | ,part of spectrum file | [5 empty] | No |  | look like DarkNoise | look like DarkNoise
LWP503 | LWP503_Ws_06_Jun_2017_15 18.mat | No | LWP503_DarkCount_06Jun2017_24.mat | [5 empty] | Yes |  | slim peaks around 550 and 700nm
LWP504 | LWP504_Ws_12Jun_2017_17 1.mat | Yes | LWP504_DarkCount_12Jun2017.mat | 61:51 |  |  | 320 | 440 | Yes |  | slim peaks around 600 and 700nm
LWP507 | LWP507_Ws_10Jul_2017_16 55.mat | Yes | LWP507_DarkCount_10Jul2017.mat | 66:01 | 65:23 | 65:43 | 120 | 240 | Yes |  | slim peak around 700nm
LWP509 | LWP509_Ws_17Jul_2017_11 21.mat | Yes | LWP509_DarkCount_17Jul2017.mat | 66:20 | 66:12 | 66:31 | 300 | 420 | Yes |  | slim peak around 700nm
LWP509 | LWP509_Ws_17Jul_2017_18 18.mat | No | LWP509_DarkCount_17Jul2017.mat | [5 empty] | No | 1 darkcount for two spectrs | Looks like DarkNoise + refIntensity
LWP511 | LWP511_Ws_25Jul_2017_16 2.mat | Yes | LWP511_DarkCount_25Jul2017.mat | 62:42 |  |  | 220 | 360 | Yes | Faulty, extremely noisy | Extreme noise around timestep 5000
LWP511 | LWP511_Ws_26Jul_2017_16 8.mat | No | LWP511_DarkCount_25Jul2017.mat | [5 empty] | Yes | 1 darkcount for two spectrs | slim peak around 700nm
LWP512 | LWP512_Ws_01AUG_2017_12 48.mat | No | [6 empty] | Yes |  | slim peak around 600 and 700nm
LWP512 | LWP512_Ws_31Jul_2017_17 16.mat | Yes | LWP512_DarkCount_31Jul2017.mat | 62:04 |  |  | 80 | 220 | Yes |  | slim peak around 700nm
*determined from when Fi02 dropped below 21/ was incresed to 21

## Sheet2
piglet | spectrum | darkCount | HI_start_idx | HI_end_idx
lwp475 | LWP475_Ws_14Nov2016_1.mat | LWP475_DarkCount_14Nov2016.mat | 73 | 220
lwp478 | LWP474_Ws_07Nov2016.mat | LWP474_DarkCount_07Nov2016.mat | 200 | 360
lwp479-HI+saline | LWP479_Ws_05Dec2016.mat | LWP479_DarkCount_05Dec2016.mat | 151 | 299
LWP480 | LWP480_Ws_12Dec2016.mat | LWP480_DarkCount_12Dec2016.mat | 354 | 478
LWP481 | LWP481_Ws_03Jan2017.mat | LWP481_DarkCount_03Jan2017.mat | 368 | 489
LWP484 | LWP484_Ws_23Jan2017.mat | LWP484_DarkCount_23Jan2017.mat | 213 | 368
LWP485 | LWP485_Ws_30Jan2017.mat | LWP485_DarkCount_30Jan2017.mat | 122 | 241
LWP488 | LWP488_Ws_13Feb2017.mat | LWP488_DarkCount_13Feb2017.mat | 141 | 284
LWP489 | LWP489_Ws_20Feb2017.mat | LWP489_DarkCount_20Feb2017.mat | 297 | 416
LWP490 | LWP490_Ws_27Feb2017.mat | LWP490_DarkCount_27Feb2017.mat | 80 | 280
LWP492 | LWP492_Ws_13Mar2017.mat | LWP492_DarkCount_13Mar2017.mat | 180 | 340
lwp494 | LWP494_Ws_27Mar2017_17 21.mat | LWP494_DarkCount_21Mar2017 | 60 | 240
LWP495 | LWP495_Ws_03Apr2017_14 23.mat | LWP475_DarkCount_14Nov2016.mat | 120 | 280
LWP498 | LWP498_Ws_24Apr2017_15.mat | LWP498 _DarkCount_24Apr2017.mat | 222 | 354
lwp499 | LWP499_Ws_02_May_2017.mat | LWP499_DarkCount_02May2017.mat | 200 | 340
LWP500 | LWP500_Ws_15_May_201716.mat | LWP500_DarkCount_15May2017.mat | 760 | 900
LWP501 | LWP501_Ws_22_May_201715.mat | LWP501_DarkCount_22May2017.mat | 540 | 680
LWP502 | LWP502_Ws_30_May_201716.mat | LWP475_DarkCount_14Nov2016.mat | 340 | 499
LWP503 | LWP503_Ws_05_Jun_2017_15 8.mat | LWP503_DarkCount_05Jun2017.mat | 120 | 260
LWP504 | LWP504_Ws_12Jun_2017_17 1.mat | LWP504_DarkCount_12Jun2017.mat | 320 | 440
LWP507 | LWP507_Ws_10Jul_2017_16 55.mat | LWP507_DarkCount_10Jul2017.mat | 120 | 240
LWP509 | LWP509_Ws_17Jul_2017_11 21.mat | LWP509_DarkCount_17Jul2017.mat | 300 | 420
LWP511 | LWP511_Ws_25Jul_2017_16 2.mat | LWP511_DarkCount_25Jul2017.mat | 220 | 360
LWP512 | LWP512_Ws_31Jul_2017_17 16.mat | LWP512_DarkCount_31Jul2017.mat | 80 | 220